## Story Drifts
TABLE: Story Drifts
Story | Load Case/Combo | Direction | Drift | Label | X | Y | Z
[5 empty] | ft | ft | ft
Mumty | Dead | X | 3.411e-07 | 24 | 60 | 24 | 129
Mumty | Dead | Y | 5e-06 | 27 | 48 | 48 | 129
Mumty | Live | X | 1.1e-07 | 24 | 60 | 24 | 129
Mumty | Live | Y | 4.358e-07 | 27 | 48 | 48 | 129
Mumty | SDL | X | 1.349e-07 | 24 | 60 | 24 | 129
Mumty | SDL | Y | 1e-06 | 27 | 48 | 48 | 129
Mumty | EQx 1 | X | 0.000878 | 25 | 48 | 24 | 129
Mumty | EQx 2 | X | 0.000878 | 25 | 48 | 24 | 129
Mumty | EQx 3 | X | 0.000878 | 25 | 48 | 24 | 129
Mumty | EQy 1 | Y | 0.002051 | 27 | 48 | 48 | 129
Mumty | EQy 2 | Y | 0.002051 | 27 | 48 | 48 | 129
Mumty | EQy 3 | Y | 0.002051 | 27 | 48 | 48 | 129
Mumty | 1.4D+1.4SDL | X | 1e-06 | 24 | 60 | 24 | 129
Mumty | 1.4D+1.4SDL | Y | 7e-06 | 27 | 48 | 48 | 129
Mumty | 1.2D+1.6L+1.2SDL | X | 1e-06 | 24 | 60 | 24 | 129
Mumty | 1.2D+1.6L+1.2SDL | Y | 7e-06 | 27 | 48 | 48 | 129
Mumty | 1.3D+1L+1.3SDL+1EQx Max | X | 0.000878 | 24 | 60 | 24 | 129
Mumty | 1.3D+1L+1.3SDL+1EQx Min | X | 0.000878 | 24 | 60 | 24 | 129
Mumty | 1.3D+1L+1.3SDL-1EQx Max | X | 0.000878 | 25 | 48 | 24 | 129
Mumty | 1.3D+1L+1.3SDL-1EQx Min | X | 0.000878 | 25 | 48 | 24 | 129
Mumty | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.002058 | 25 | 48 | 24 | 129
Mumty | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.002058 | 25 | 48 | 24 | 129
Mumty | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.002058 | 27 | 48 | 48 | 129
Mumty | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.002058 | 27 | 48 | 48 | 129
Mumty | 1.3D+1.3SDL+1EQx Max | X | 0.000878 | 24 | 60 | 24 | 129
Mumty | 1.3D+1.3SDL+1EQx Min | X | 0.000878 | 24 | 60 | 24 | 129
Mumty | 1.3D+1.3SDL-1EQx Max | X | 0.000878 | 25 | 48 | 24 | 129
Mumty | 1.3D+1.3SDL-1EQx Min | X | 0.000878 | 25 | 48 | 24 | 129
Mumty | 1.3D+1.3SDL+1EQy Max | Y | 0.002058 | 25 | 48 | 24 | 129
Mumty | 1.3D+1.3SDL+1EQy Min | Y | 0.002058 | 25 | 48 | 24 | 129
Mumty | 1.3D+1.3SDL-1EQy Max | Y | 0.002058 | 27 | 48 | 48 | 129
Mumty | 1.3D+1.3SDL-1EQy Min | Y | 0.002058 | 27 | 48 | 48 | 129
Mumty | 0.8D+0.8SDL+1EQx Max | X | 0.000878 | 24 | 60 | 24 | 129
Mumty | 0.8D+0.8SDL+1EQx Min | X | 0.000878 | 24 | 60 | 24 | 129
Mumty | 0.8D+0.8SDL-1EQx Max | X | 0.000878 | 25 | 48 | 24 | 129
Mumty | 0.8D+0.8SDL-1EQx Min | X | 0.000878 | 25 | 48 | 24 | 129
Mumty | 0.8D+0.8SDL+1EQy Max | Y | 0.002055 | 25 | 48 | 24 | 129
Mumty | 0.8D+0.8SDL+1EQy Min | Y | 0.002055 | 25 | 48 | 24 | 129
Mumty | 0.8D+0.8SDL-1EQy Max | Y | 0.002055 | 27 | 48 | 48 | 129
Mumty | 0.8D+0.8SDL-1EQy Min | Y | 0.002055 | 27 | 48 | 48 | 129
Story10 | Dead | X | 5e-06 | 19 | 108 | 24 | 120
Story10 | Dead | Y | 1.1e-05 | 1 | 108 | 72 | 120
Story10 | Live | X | 2e-06 | 19 | 108 | 24 | 120
Story10 | Live | Y | 3e-06 | 3 | 84 | 72 | 120
Story10 | SDL | X | 2e-06 | 19 | 108 | 24 | 120
Story10 | SDL | Y | 4e-06 | 3 | 84 | 72 | 120
Story10 | EQx 1 | X | 0.002318 | 10 | 108 | 0 | 120
Story10 | EQx 2 | X | 0.002318 | 10 | 108 | 0 | 120
Story10 | EQx 3 | X | 0.002318 | 10 | 108 | 0 | 120
Story10 | EQy 1 | Y | 0.004138 | 10 | 108 | 0 | 120
Story10 | EQy 2 | Y | 0.004138 | 10 | 108 | 0 | 120
Story10 | EQy 3 | Y | 0.004138 | 10 | 108 | 0 | 120
Story10 | 1.4D+1.4SDL | X | 1.1e-05 | 19 | 108 | 24 | 120
Story10 | 1.4D+1.4SDL | Y | 2.1e-05 | 1 | 108 | 72 | 120
Story10 | 1.2D+1.6L+1.2SDL | X | 1.2e-05 | 19 | 108 | 24 | 120
Story10 | 1.2D+1.6L+1.2SDL | Y | 2.3e-05 | 1 | 108 | 72 | 120
Story10 | 1.3D+1L+1.3SDL+1EQx Max | X | 0.002327 | 21 | 0 | 0 | 120
Story10 | 1.3D+1L+1.3SDL+1EQx Min | X | 0.002327 | 21 | 0 | 0 | 120
Story10 | 1.3D+1L+1.3SDL-1EQx Max | X | 0.002327 | 10 | 108 | 0 | 120
Story10 | 1.3D+1L+1.3SDL-1EQx Min | X | 0.002327 | 10 | 108 | 0 | 120
Story10 | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.004161 | 10 | 108 | 0 | 120
Story10 | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.004161 | 10 | 108 | 0 | 120
Story10 | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.004161 | 1 | 108 | 72 | 120
Story10 | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.004161 | 1 | 108 | 72 | 120
Story10 | 1.3D+1.3SDL+1EQx Max | X | 0.002326 | 21 | 0 | 0 | 120
Story10 | 1.3D+1.3SDL+1EQx Min | X | 0.002326 | 21 | 0 | 0 | 120
Story10 | 1.3D+1.3SDL-1EQx Max | X | 0.002326 | 10 | 108 | 0 | 120
Story10 | 1.3D+1.3SDL-1EQx Min | X | 0.002326 | 10 | 108 | 0 | 120
Story10 | 1.3D+1.3SDL+1EQy Max | Y | 0.004158 | 10 | 108 | 0 | 120
Story10 | 1.3D+1.3SDL+1EQy Min | Y | 0.004158 | 10 | 108 | 0 | 120
Story10 | 1.3D+1.3SDL-1EQy Max | Y | 0.004158 | 1 | 108 | 72 | 120
Story10 | 1.3D+1.3SDL-1EQy Min | Y | 0.004158 | 1 | 108 | 72 | 120
Story10 | 0.8D+0.8SDL+1EQx Max | X | 0.002323 | 21 | 0 | 0 | 120
Story10 | 0.8D+0.8SDL+1EQx Min | X | 0.002323 | 21 | 0 | 0 | 120
Story10 | 0.8D+0.8SDL-1EQx Max | X | 0.002323 | 10 | 108 | 0 | 120
Story10 | 0.8D+0.8SDL-1EQx Min | X | 0.002323 | 10 | 108 | 0 | 120
Story10 | 0.8D+0.8SDL+1EQy Max | Y | 0.004151 | 10 | 108 | 0 | 120
Story10 | 0.8D+0.8SDL+1EQy Min | Y | 0.004151 | 10 | 108 | 0 | 120
Story10 | 0.8D+0.8SDL-1EQy Max | Y | 0.004151 | 1 | 108 | 72 | 120
Story10 | 0.8D+0.8SDL-1EQy Min | Y | 0.004151 | 1 | 108 | 72 | 120
Story9 | Dead | Y | 2e-06 | 10 | 108 | 0 | 108
Story9 | Live | X | 3.879e-07 | 22 | 0 | 24 | 108
Story9 | Live | Y | 1e-06 | 14 | 60 | 0 | 108
Story9 | SDL | X | 4.76e-07 | 22 | 0 | 24 | 108
Story9 | SDL | Y | 1e-06 | 14 | 60 | 0 | 108
Story9 | EQx 1 | X | 0.00434 | 33 | 72 | 24 | 108
Story9 | EQx 2 | X | 0.00434 | 33 | 72 | 24 | 108
Story9 | EQx 3 | X | 0.00434 | 33 | 72 | 24 | 108
Story9 | EQy 1 | Y | 0.007428 | 32 | 72 | 48 | 108
Story9 | EQy 2 | Y | 0.007428 | 32 | 72 | 48 | 108
Story9 | EQy 3 | Y | 0.007428 | 32 | 72 | 48 | 108
Story9 | 1.4D+1.4SDL | Y | 5e-06 | 10 | 108 | 0 | 108
Story9 | 1.2D+1.6L+1.2SDL | X | 2e-06 | 22 | 0 | 24 | 108
Story9 | 1.2D+1.6L+1.2SDL | Y | 6e-06 | 10 | 108 | 0 | 108
Story9 | 1.3D+1L+1.3SDL+1EQx Max | X | 0.004341 | 31 | 84 | 24 | 108
Story9 | 1.3D+1L+1.3SDL+1EQx Min | X | 0.004341 | 31 | 84 | 24 | 108
Story9 | 1.3D+1L+1.3SDL-1EQx Max | X | 0.004341 | 37 | 24 | 24 | 108
Story9 | 1.3D+1L+1.3SDL-1EQx Min | X | 0.004341 | 37 | 24 | 24 | 108
Story9 | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.007431 | 5 | 60 | 72 | 108
Story9 | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.007431 | 5 | 60 | 72 | 108
Story9 | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.007431 | 14 | 60 | 0 | 108
Story9 | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.007431 | 14 | 60 | 0 | 108
Story9 | 1.3D+1.3SDL+1EQx Max | X | 0.004341 | 31 | 84 | 24 | 108
Story9 | 1.3D+1.3SDL+1EQx Min | X | 0.004341 | 31 | 84 | 24 | 108
Story9 | 1.3D+1.3SDL-1EQx Max | X | 0.004341 | 37 | 24 | 24 | 108
Story9 | 1.3D+1.3SDL-1EQx Min | X | 0.004341 | 37 | 24 | 24 | 108
Story9 | 1.3D+1.3SDL+1EQy Max | Y | 0.00743 | 4 | 72 | 72 | 108
Story9 | 1.3D+1.3SDL+1EQy Min | Y | 0.00743 | 4 | 72 | 72 | 108
Story9 | 1.3D+1.3SDL-1EQy Max | Y | 0.00743 | 13 | 72 | 0 | 108
Story9 | 1.3D+1.3SDL-1EQy Min | Y | 0.00743 | 13 | 72 | 0 | 108
Story9 | 0.8D+0.8SDL+1EQx Max | X | 0.00434 | 31 | 84 | 24 | 108
Story9 | 0.8D+0.8SDL+1EQx Min | X | 0.00434 | 31 | 84 | 24 | 108
Story9 | 0.8D+0.8SDL-1EQx Max | X | 0.00434 | 37 | 24 | 24 | 108
Story9 | 0.8D+0.8SDL-1EQx Min | X | 0.00434 | 37 | 24 | 24 | 108
Story9 | 0.8D+0.8SDL+1EQy Max | Y | 0.007429 | 5 | 60 | 72 | 108
Story9 | 0.8D+0.8SDL+1EQy Min | Y | 0.007429 | 5 | 60 | 72 | 108
Story9 | 0.8D+0.8SDL-1EQy Max | Y | 0.007429 | 14 | 60 | 0 | 108
Story9 | 0.8D+0.8SDL-1EQy Min | Y | 0.007429 | 14 | 60 | 0 | 108
Story8 | Dead | Y | 4.448e-07 | 1 | 108 | 72 | 96
Story8 | Live | X | 6.59e-08 | 19 | 108 | 24 | 96
Story8 | Live | Y | 2.447e-07 | 5 | 60 | 72 | 96
Story8 | SDL | X | 8.087e-08 | 19 | 108 | 24 | 96
Story8 | SDL | Y | 3.002e-07 | 5 | 60 | 72 | 96
Story8 | EQx 1 | X | 0.006328 | 19 | 108 | 24 | 96
Story8 | EQx 2 | X | 0.006328 | 19 | 108 | 24 | 96
Story8 | EQx 3 | X | 0.006328 | 19 | 108 | 24 | 96
Story8 | EQy 1 | Y | 0.01084 | 14 | 60 | 0 | 96
Story8 | EQy 2 | Y | 0.01084 | 14 | 60 | 0 | 96
Story8 | EQy 3 | Y | 0.01084 | 14 | 60 | 0 | 96
Story8 | 1.4D+1.4SDL | Y | 1e-06 | 1 | 108 | 72 | 96
Story8 | 1.2D+1.6L+1.2SDL | Y | 1e-06 | 1 | 108 | 72 | 96
Story8 | 1.3D+1L+1.3SDL+1EQx Max | X | 0.006328 | 22 | 0 | 24 | 96
Story8 | 1.3D+1L+1.3SDL+1EQx Min | X | 0.006328 | 22 | 0 | 24 | 96
Story8 | 1.3D+1L+1.3SDL-1EQx Max | X | 0.006328 | 19 | 108 | 24 | 96
Story8 | 1.3D+1L+1.3SDL-1EQx Min | X | 0.006328 | 19 | 108 | 24 | 96
Story8 | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.010841 | 14 | 60 | 0 | 96
Story8 | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.010841 | 14 | 60 | 0 | 96
Story8 | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.010841 | 5 | 60 | 72 | 96
Story8 | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.010841 | 5 | 60 | 72 | 96
Story8 | 1.3D+1.3SDL+1EQx Max | X | 0.006328 | 22 | 0 | 24 | 96
Story8 | 1.3D+1.3SDL+1EQx Min | X | 0.006328 | 22 | 0 | 24 | 96
Story8 | 1.3D+1.3SDL-1EQx Max | X | 0.006328 | 19 | 108 | 24 | 96
Story8 | 1.3D+1.3SDL-1EQx Min | X | 0.006328 | 19 | 108 | 24 | 96
Story8 | 1.3D+1.3SDL+1EQy Max | Y | 0.010841 | 14 | 60 | 0 | 96
Story8 | 1.3D+1.3SDL+1EQy Min | Y | 0.010841 | 14 | 60 | 0 | 96
Story8 | 1.3D+1.3SDL-1EQy Max | Y | 0.010841 | 5 | 60 | 72 | 96
Story8 | 1.3D+1.3SDL-1EQy Min | Y | 0.010841 | 5 | 60 | 72 | 96
Story8 | 0.8D+0.8SDL+1EQx Max | X | 0.006328 | 22 | 0 | 24 | 96
Story8 | 0.8D+0.8SDL+1EQx Min | X | 0.006328 | 22 | 0 | 24 | 96
Story8 | 0.8D+0.8SDL-1EQx Max | X | 0.006328 | 19 | 108 | 24 | 96
Story8 | 0.8D+0.8SDL-1EQx Min | X | 0.006328 | 19 | 108 | 24 | 96
Story8 | 0.8D+0.8SDL+1EQy Max | Y | 0.01084 | 14 | 60 | 0 | 96
Story8 | 0.8D+0.8SDL+1EQy Min | Y | 0.01084 | 14 | 60 | 0 | 96
Story8 | 0.8D+0.8SDL-1EQy Max | Y | 0.01084 | 5 | 60 | 72 | 96
Story8 | 0.8D+0.8SDL-1EQy Min | Y | 0.01084 | 5 | 60 | 72 | 96
Story7 | Dead | X | 4.644e-08 | 10 | 108 | 0 | 84
Story7 | Dead | Y | 6.968e-08 | 10 | 108 | 0 | 84
Story7 | Live | X | 1.083e-08 | 29 | 96 | 24 | 84
Story7 | Live | Y | 4.566e-08 | 14 | 60 | 0 | 84
Story7 | SDL | X | 1.329e-08 | 29 | 96 | 24 | 84
Story7 | SDL | Y | 5.604e-08 | 14 | 60 | 0 | 84
Story7 | EQx 1 | X | 0.008083 | 22 | 0 | 24 | 84
Story7 | EQx 2 | X | 0.008083 | 22 | 0 | 24 | 84
Story7 | EQx 3 | X | 0.008083 | 22 | 0 | 24 | 84
Story7 | EQy 1 | Y | 0.01392 | 5 | 60 | 72 | 84
Story7 | EQy 2 | Y | 0.01392 | 5 | 60 | 72 | 84
Story7 | EQy 3 | Y | 0.01392 | 5 | 60 | 72 | 84
Story7 | 1.4D+1.4SDL | X | 8.186e-08 | 10 | 108 | 0 | 84
Story7 | 1.4D+1.4SDL | Y | 1.687e-07 | 10 | 108 | 0 | 84
Story7 | 1.2D+1.6L+1.2SDL | X | 8.584e-08 | 10 | 108 | 0 | 84
Story7 | 1.2D+1.6L+1.2SDL | Y | 2.109e-07 | 10 | 108 | 0 | 84
Story7 | 1.3D+1L+1.3SDL+1EQx Max | X | 0.008083 | 22 | 0 | 24 | 84
Story7 | 1.3D+1L+1.3SDL+1EQx Min | X | 0.008083 | 22 | 0 | 24 | 84
Story7 | 1.3D+1L+1.3SDL-1EQx Max | X | 0.008083 | 19 | 108 | 24 | 84
Story7 | 1.3D+1L+1.3SDL-1EQx Min | X | 0.008083 | 19 | 108 | 24 | 84
Story7 | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.01392 | 5 | 60 | 72 | 84
Story7 | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.01392 | 5 | 60 | 72 | 84
Story7 | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.01392 | 14 | 60 | 0 | 84
Story7 | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.01392 | 14 | 60 | 0 | 84
Story7 | 1.3D+1.3SDL+1EQx Max | X | 0.008083 | 22 | 0 | 24 | 84
Story7 | 1.3D+1.3SDL+1EQx Min | X | 0.008083 | 22 | 0 | 24 | 84
Story7 | 1.3D+1.3SDL-1EQx Max | X | 0.008083 | 19 | 108 | 24 | 84
Story7 | 1.3D+1.3SDL-1EQx Min | X | 0.008083 | 19 | 108 | 24 | 84
Story7 | 1.3D+1.3SDL+1EQy Max | Y | 0.01392 | 5 | 60 | 72 | 84
Story7 | 1.3D+1.3SDL+1EQy Min | Y | 0.01392 | 5 | 60 | 72 | 84
Story7 | 1.3D+1.3SDL-1EQy Max | Y | 0.01392 | 14 | 60 | 0 | 84
Story7 | 1.3D+1.3SDL-1EQy Min | Y | 0.01392 | 14 | 60 | 0 | 84
Story7 | 0.8D+0.8SDL+1EQx Max | X | 0.008083 | 22 | 0 | 24 | 84
Story7 | 0.8D+0.8SDL+1EQx Min | X | 0.008083 | 22 | 0 | 24 | 84
Story7 | 0.8D+0.8SDL-1EQx Max | X | 0.008083 | 19 | 108 | 24 | 84
Story7 | 0.8D+0.8SDL-1EQx Min | X | 0.008083 | 19 | 108 | 24 | 84
Story7 | 0.8D+0.8SDL+1EQy Max | Y | 0.01392 | 5 | 60 | 72 | 84
Story7 | 0.8D+0.8SDL+1EQy Min | Y | 0.01392 | 5 | 60 | 72 | 84
Story7 | 0.8D+0.8SDL-1EQy Max | Y | 0.01392 | 14 | 60 | 0 | 84
Story7 | 0.8D+0.8SDL-1EQy Min | Y | 0.01392 | 14 | 60 | 0 | 84
Story6 | Dead | X | 5.325e-08 | 19 | 108 | 24 | 72
Story6 | Dead | Y | 3.905e-08 | 1 | 108 | 72 | 72
Story6 | Live | X | 1.706e-08 | 19 | 108 | 24 | 72
Story6 | Live | Y | 1.471e-08 | 4 | 72 | 72 | 72
Story6 | SDL | X | 2.094e-08 | 19 | 108 | 24 | 72
Story6 | SDL | Y | 1.805e-08 | 4 | 72 | 72 | 72
Story6 | EQx 1 | X | 0.009581 | 22 | 0 | 24 | 72
Story6 | EQx 2 | X | 0.009581 | 22 | 0 | 24 | 72
Story6 | EQx 3 | X | 0.009581 | 22 | 0 | 24 | 72
Story6 | EQy 1 | Y | 0.01657 | 14 | 60 | 0 | 72
Story6 | EQy 2 | Y | 0.01657 | 14 | 60 | 0 | 72
Story6 | EQy 3 | Y | 0.01657 | 14 | 60 | 0 | 72
Story6 | 1.4D+1.4SDL | X | 1.039e-07 | 19 | 108 | 24 | 72
Story6 | 1.4D+1.4SDL | Y | 7.865e-08 | 1 | 108 | 72 | 72
Story6 | 1.2D+1.6L+1.2SDL | X | 1.163e-07 | 19 | 108 | 24 | 72
Story6 | 1.2D+1.6L+1.2SDL | Y | 8.975e-08 | 1 | 108 | 72 | 72
Story6 | 1.3D+1L+1.3SDL+1EQx Max | X | 0.009581 | 22 | 0 | 24 | 72
Story6 | 1.3D+1L+1.3SDL+1EQx Min | X | 0.009581 | 22 | 0 | 24 | 72
Story6 | 1.3D+1L+1.3SDL-1EQx Max | X | 0.009581 | 19 | 108 | 24 | 72
Story6 | 1.3D+1L+1.3SDL-1EQx Min | X | 0.009581 | 19 | 108 | 24 | 72
Story6 | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.01657 | 14 | 60 | 0 | 72
Story6 | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.01657 | 14 | 60 | 0 | 72
Story6 | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.01657 | 5 | 60 | 72 | 72
Story6 | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.01657 | 5 | 60 | 72 | 72
Story6 | 1.3D+1.3SDL+1EQx Max | X | 0.009581 | 22 | 0 | 24 | 72
Story6 | 1.3D+1.3SDL+1EQx Min | X | 0.009581 | 22 | 0 | 24 | 72
Story6 | 1.3D+1.3SDL-1EQx Max | X | 0.009581 | 19 | 108 | 24 | 72
Story6 | 1.3D+1.3SDL-1EQx Min | X | 0.009581 | 19 | 108 | 24 | 72
Story6 | 1.3D+1.3SDL+1EQy Max | Y | 0.01657 | 14 | 60 | 0 | 72
Story6 | 1.3D+1.3SDL+1EQy Min | Y | 0.01657 | 14 | 60 | 0 | 72
Story6 | 1.3D+1.3SDL-1EQy Max | Y | 0.01657 | 5 | 60 | 72 | 72
Story6 | 1.3D+1.3SDL-1EQy Min | Y | 0.01657 | 5 | 60 | 72 | 72
Story6 | 0.8D+0.8SDL+1EQx Max | X | 0.009581 | 22 | 0 | 24 | 72
Story6 | 0.8D+0.8SDL+1EQx Min | X | 0.009581 | 22 | 0 | 24 | 72
Story6 | 0.8D+0.8SDL-1EQx Max | X | 0.009581 | 19 | 108 | 24 | 72
Story6 | 0.8D+0.8SDL-1EQx Min | X | 0.009581 | 19 | 108 | 24 | 72
Story6 | 0.8D+0.8SDL+1EQy Max | Y | 0.01657 | 14 | 60 | 0 | 72
Story6 | 0.8D+0.8SDL+1EQy Min | Y | 0.01657 | 14 | 60 | 0 | 72
Story6 | 0.8D+0.8SDL-1EQy Max | Y | 0.01657 | 5 | 60 | 72 | 72
Story6 | 0.8D+0.8SDL-1EQy Min | Y | 0.01657 | 5 | 60 | 72 | 72
Story5 | Dead | X | 5.432e-08 | 10 | 108 | 0 | 60
Story5 | Dead | Y | 1.988e-08 | 10 | 108 | 0 | 60
Story5 | Live | X | 1.631e-08 | 19 | 108 | 24 | 60
Story5 | Live | Y | 6.263e-09 | 14 | 60 | 0 | 60
Story5 | SDL | X | 2.001e-08 | 19 | 108 | 24 | 60
Story5 | SDL | Y | 7.685e-09 | 14 | 60 | 0 | 60
Story5 | EQx 1 | X | 0.010816 | 19 | 108 | 24 | 60
Story5 | EQx 2 | X | 0.010816 | 19 | 108 | 24 | 60
Story5 | EQx 3 | X | 0.010816 | 19 | 108 | 24 | 60
Story5 | EQy 1 | Y | 0.018756 | 5 | 60 | 72 | 60
Story5 | EQy 2 | Y | 0.018756 | 5 | 60 | 72 | 60
Story5 | EQy 3 | Y | 0.018756 | 5 | 60 | 72 | 60
Story5 | 1.4D+1.4SDL | X | 1.011e-07 | 10 | 108 | 0 | 60
Story5 | 1.4D+1.4SDL | Y | 3.613e-08 | 10 | 108 | 0 | 60
Story5 | 1.2D+1.6L+1.2SDL | X | 1.116e-07 | 19 | 108 | 24 | 60
Story5 | 1.2D+1.6L+1.2SDL | Y | 3.87e-08 | 10 | 108 | 0 | 60
Story5 | 1.3D+1L+1.3SDL+1EQx Max | X | 0.010817 | 22 | 0 | 24 | 60
Story5 | 1.3D+1L+1.3SDL+1EQx Min | X | 0.010817 | 22 | 0 | 24 | 60
Story5 | 1.3D+1L+1.3SDL-1EQx Max | X | 0.010817 | 19 | 108 | 24 | 60
Story5 | 1.3D+1L+1.3SDL-1EQx Min | X | 0.010817 | 19 | 108 | 24 | 60
Story5 | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.018756 | 5 | 60 | 72 | 60
Story5 | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.018756 | 5 | 60 | 72 | 60
Story5 | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.018756 | 14 | 60 | 0 | 60
Story5 | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.018756 | 14 | 60 | 0 | 60
Story5 | 1.3D+1.3SDL+1EQx Max | X | 0.010817 | 22 | 0 | 24 | 60
Story5 | 1.3D+1.3SDL+1EQx Min | X | 0.010817 | 22 | 0 | 24 | 60
Story5 | 1.3D+1.3SDL-1EQx Max | X | 0.010817 | 19 | 108 | 24 | 60
Story5 | 1.3D+1.3SDL-1EQx Min | X | 0.010817 | 19 | 108 | 24 | 60
Story5 | 1.3D+1.3SDL+1EQy Max | Y | 0.018756 | 5 | 60 | 72 | 60
Story5 | 1.3D+1.3SDL+1EQy Min | Y | 0.018756 | 5 | 60 | 72 | 60
Story5 | 1.3D+1.3SDL-1EQy Max | Y | 0.018756 | 14 | 60 | 0 | 60
Story5 | 1.3D+1.3SDL-1EQy Min | Y | 0.018756 | 14 | 60 | 0 | 60
Story5 | 0.8D+0.8SDL+1EQx Max | X | 0.010817 | 22 | 0 | 24 | 60
Story5 | 0.8D+0.8SDL+1EQx Min | X | 0.010817 | 22 | 0 | 24 | 60
Story5 | 0.8D+0.8SDL-1EQx Max | X | 0.010817 | 19 | 108 | 24 | 60
Story5 | 0.8D+0.8SDL-1EQx Min | X | 0.010817 | 19 | 108 | 24 | 60
Story5 | 0.8D+0.8SDL+1EQy Max | Y | 0.018756 | 5 | 60 | 72 | 60
Story5 | 0.8D+0.8SDL+1EQy Min | Y | 0.018756 | 5 | 60 | 72 | 60
Story5 | 0.8D+0.8SDL-1EQy Max | Y | 0.018756 | 14 | 60 | 0 | 60
Story5 | 0.8D+0.8SDL-1EQy Min | Y | 0.018756 | 14 | 60 | 0 | 60
Story4 | Dead | X | 6.546e-08 | 19 | 108 | 24 | 48
Story4 | Dead | Y | 1.76e-07 | 1 | 108 | 72 | 48
Story4 | Live | X | 2.101e-08 | 19 | 108 | 24 | 48
Story4 | Live | Y | 3.934e-08 | 5 | 60 | 72 | 48
Story4 | SDL | X | 2.578e-08 | 19 | 108 | 24 | 48
Story4 | SDL | Y | 4.828e-08 | 5 | 60 | 72 | 48
Story4 | EQx 1 | X | 0.011781 | 22 | 0 | 24 | 48
Story4 | EQx 2 | X | 0.011781 | 22 | 0 | 24 | 48
Story4 | EQx 3 | X | 0.011781 | 22 | 0 | 24 | 48
Story4 | EQy 1 | Y | 0.020416 | 1 | 108 | 72 | 48
Story4 | EQy 2 | Y | 0.020416 | 1 | 108 | 72 | 48
Story4 | EQy 3 | Y | 0.020416 | 1 | 108 | 72 | 48
Story4 | 1.4D+1.4SDL | X | 1.277e-07 | 19 | 108 | 24 | 48
Story4 | 1.4D+1.4SDL | Y | 3.064e-07 | 1 | 108 | 72 | 48
Story4 | 1.2D+1.6L+1.2SDL | X | 1.431e-07 | 19 | 108 | 24 | 48
Story4 | 1.2D+1.6L+1.2SDL | Y | 3.184e-07 | 1 | 108 | 72 | 48
Story4 | 1.3D+1L+1.3SDL+1EQx Max | X | 0.011781 | 22 | 0 | 24 | 48
Story4 | 1.3D+1L+1.3SDL+1EQx Min | X | 0.011781 | 22 | 0 | 24 | 48
Story4 | 1.3D+1L+1.3SDL-1EQx Max | X | 0.011781 | 19 | 108 | 24 | 48
Story4 | 1.3D+1L+1.3SDL-1EQx Min | X | 0.011781 | 19 | 108 | 24 | 48
Story4 | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.020417 | 10 | 108 | 0 | 48
Story4 | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.020417 | 10 | 108 | 0 | 48
Story4 | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.020417 | 1 | 108 | 72 | 48
Story4 | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.020417 | 1 | 108 | 72 | 48
Story4 | 1.3D+1.3SDL+1EQx Max | X | 0.011781 | 22 | 0 | 24 | 48
Story4 | 1.3D+1.3SDL+1EQx Min | X | 0.011781 | 22 | 0 | 24 | 48
Story4 | 1.3D+1.3SDL-1EQx Max | X | 0.011781 | 19 | 108 | 24 | 48
Story4 | 1.3D+1.3SDL-1EQx Min | X | 0.011781 | 19 | 108 | 24 | 48
Story4 | 1.3D+1.3SDL+1EQy Max | Y | 0.020417 | 10 | 108 | 0 | 48
Story4 | 1.3D+1.3SDL+1EQy Min | Y | 0.020417 | 10 | 108 | 0 | 48
Story4 | 1.3D+1.3SDL-1EQy Max | Y | 0.020417 | 1 | 108 | 72 | 48
Story4 | 1.3D+1.3SDL-1EQy Min | Y | 0.020417 | 1 | 108 | 72 | 48
Story4 | 0.8D+0.8SDL+1EQx Max | X | 0.011781 | 22 | 0 | 24 | 48
Story4 | 0.8D+0.8SDL+1EQx Min | X | 0.011781 | 22 | 0 | 24 | 48
Story4 | 0.8D+0.8SDL-1EQx Max | X | 0.011781 | 19 | 108 | 24 | 48
Story4 | 0.8D+0.8SDL-1EQx Min | X | 0.011781 | 19 | 108 | 24 | 48
Story4 | 0.8D+0.8SDL+1EQy Max | Y | 0.020416 | 10 | 108 | 0 | 48
Story4 | 0.8D+0.8SDL+1EQy Min | Y | 0.020416 | 10 | 108 | 0 | 48
Story4 | 0.8D+0.8SDL-1EQy Max | Y | 0.020416 | 1 | 108 | 72 | 48
Story4 | 0.8D+0.8SDL-1EQy Min | Y | 0.020416 | 1 | 108 | 72 | 48
Story3 | Dead | X | 6.025e-08 | 11 | 96 | 0 | 36
Story3 | Dead | Y | 1e-06 | 10 | 108 | 0 | 36
Story3 | Live | X | 9.928e-09 | 29 | 96 | 24 | 36
Story3 | Live | Y | 1.748e-07 | 14 | 60 | 0 | 36
Story3 | SDL | X | 1.218e-08 | 29 | 96 | 24 | 36
Story3 | SDL | Y | 2.146e-07 | 14 | 60 | 0 | 36
Story3 | EQx 1 | X | 0.012422 | 22 | 0 | 24 | 36
Story3 | EQx 2 | X | 0.012422 | 22 | 0 | 24 | 36
Story3 | EQx 3 | X | 0.012422 | 22 | 0 | 24 | 36
Story3 | EQy 1 | Y | 0.021295 | 10 | 108 | 0 | 36
Story3 | EQy 2 | Y | 0.021295 | 10 | 108 | 0 | 36
Story3 | EQy 3 | Y | 0.021295 | 10 | 108 | 0 | 36
Story3 | 1.4D+1.4SDL | X | 9.311e-08 | 11 | 96 | 0 | 36
Story3 | 1.4D+1.4SDL | Y | 1e-06 | 10 | 108 | 0 | 36
Story3 | 1.2D+1.6L+1.2SDL | X | 8.796e-08 | 11 | 96 | 0 | 36
Story3 | 1.2D+1.6L+1.2SDL | Y | 1e-06 | 10 | 108 | 0 | 36
Story3 | 1.3D+1L+1.3SDL+1EQx Max | X | 0.012422 | 39 | 12 | 24 | 36
Story3 | 1.3D+1L+1.3SDL+1EQx Min | X | 0.012422 | 39 | 12 | 24 | 36
Story3 | 1.3D+1L+1.3SDL-1EQx Max | X | 0.012422 | 29 | 96 | 24 | 36
Story3 | 1.3D+1L+1.3SDL-1EQx Min | X | 0.012422 | 29 | 96 | 24 | 36
Story3 | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.021297 | 1 | 108 | 72 | 36
Story3 | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.021297 | 1 | 108 | 72 | 36
Story3 | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.021297 | 10 | 108 | 0 | 36
Story3 | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.021297 | 10 | 108 | 0 | 36
Story3 | 1.3D+1.3SDL+1EQx Max | X | 0.012422 | 39 | 12 | 24 | 36
Story3 | 1.3D+1.3SDL+1EQx Min | X | 0.012422 | 39 | 12 | 24 | 36
Story3 | 1.3D+1.3SDL-1EQx Max | X | 0.012422 | 29 | 96 | 24 | 36
Story3 | 1.3D+1.3SDL-1EQx Min | X | 0.012422 | 29 | 96 | 24 | 36
Story3 | 1.3D+1.3SDL+1EQy Max | Y | 0.021297 | 1 | 108 | 72 | 36
Story3 | 1.3D+1.3SDL+1EQy Min | Y | 0.021297 | 1 | 108 | 72 | 36
Story3 | 1.3D+1.3SDL-1EQy Max | Y | 0.021297 | 10 | 108 | 0 | 36
Story3 | 1.3D+1.3SDL-1EQy Min | Y | 0.021297 | 10 | 108 | 0 | 36
Story3 | 0.8D+0.8SDL+1EQx Max | X | 0.012422 | 39 | 12 | 24 | 36
Story3 | 0.8D+0.8SDL+1EQx Min | X | 0.012422 | 39 | 12 | 24 | 36
Story3 | 0.8D+0.8SDL-1EQx Max | X | 0.012422 | 29 | 96 | 24 | 36
Story3 | 0.8D+0.8SDL-1EQx Min | X | 0.012422 | 29 | 96 | 24 | 36
Story3 | 0.8D+0.8SDL+1EQy Max | Y | 0.021296 | 1 | 108 | 72 | 36
Story3 | 0.8D+0.8SDL+1EQy Min | Y | 0.021296 | 1 | 108 | 72 | 36
Story3 | 0.8D+0.8SDL-1EQy Max | Y | 0.021296 | 10 | 108 | 0 | 36
Story3 | 0.8D+0.8SDL-1EQy Min | Y | 0.021296 | 10 | 108 | 0 | 36
Story2 | Dead | X | 1e-06 | 19 | 108 | 24 | 24
Story2 | Dead | Y | 4e-06 | 1 | 108 | 72 | 24
Story2 | Live | X | 1.839e-07 | 19 | 108 | 24 | 24
Story2 | Live | Y | 1e-06 | 5 | 60 | 72 | 24
Story2 | SDL | X | 2.257e-07 | 19 | 108 | 24 | 24
Story2 | SDL | Y | 1e-06 | 5 | 60 | 72 | 24
Story2 | EQx 1 | X | 0.012354 | 21 | 0 | 0 | 24
Story2 | EQx 2 | X | 0.012354 | 21 | 0 | 0 | 24
Story2 | EQx 3 | X | 0.012354 | 21 | 0 | 0 | 24
Story2 | EQy 1 | Y | 0.020232 | 1 | 108 | 72 | 24
Story2 | EQy 2 | Y | 0.020232 | 1 | 108 | 72 | 24
Story2 | EQy 3 | Y | 0.020232 | 1 | 108 | 72 | 24
Story2 | 1.4D+1.4SDL | X | 1e-06 | 19 | 108 | 24 | 24
Story2 | 1.4D+1.4SDL | Y | 7e-06 | 1 | 108 | 72 | 24
Story2 | 1.2D+1.6L+1.2SDL | X | 1e-06 | 19 | 108 | 24 | 24
Story2 | 1.2D+1.6L+1.2SDL | Y | 7e-06 | 5 | 60 | 72 | 24
Story2 | 1.3D+1L+1.3SDL+1EQx Max | X | 0.012355 | 21 | 0 | 0 | 24
Story2 | 1.3D+1L+1.3SDL+1EQx Min | X | 0.012355 | 21 | 0 | 0 | 24
Story2 | 1.3D+1L+1.3SDL-1EQx Max | X | 0.012355 | 10 | 108 | 0 | 24
Story2 | 1.3D+1L+1.3SDL-1EQx Min | X | 0.012355 | 10 | 108 | 0 | 24
Story2 | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.020239 | 10 | 108 | 0 | 24
Story2 | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.020239 | 10 | 108 | 0 | 24
Story2 | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.020239 | 1 | 108 | 72 | 24
Story2 | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.020239 | 1 | 108 | 72 | 24
Story2 | 1.3D+1.3SDL+1EQx Max | X | 0.012355 | 21 | 0 | 0 | 24
Story2 | 1.3D+1.3SDL+1EQx Min | X | 0.012355 | 21 | 0 | 0 | 24
Story2 | 1.3D+1.3SDL-1EQx Max | X | 0.012355 | 10 | 108 | 0 | 24
Story2 | 1.3D+1.3SDL-1EQx Min | X | 0.012355 | 10 | 108 | 0 | 24
Story2 | 1.3D+1.3SDL+1EQy Max | Y | 0.020238 | 10 | 108 | 0 | 24
Story2 | 1.3D+1.3SDL+1EQy Min | Y | 0.020238 | 10 | 108 | 0 | 24
Story2 | 1.3D+1.3SDL-1EQy Max | Y | 0.020238 | 1 | 108 | 72 | 24
Story2 | 1.3D+1.3SDL-1EQy Min | Y | 0.020238 | 1 | 108 | 72 | 24
Story2 | 0.8D+0.8SDL+1EQx Max | X | 0.012355 | 21 | 0 | 0 | 24
Story2 | 0.8D+0.8SDL+1EQx Min | X | 0.012355 | 21 | 0 | 0 | 24
Story2 | 0.8D+0.8SDL-1EQx Max | X | 0.012355 | 10 | 108 | 0 | 24
Story2 | 0.8D+0.8SDL-1EQx Min | X | 0.012355 | 10 | 108 | 0 | 24
Story2 | 0.8D+0.8SDL+1EQy Max | Y | 0.020236 | 10 | 108 | 0 | 24
Story2 | 0.8D+0.8SDL+1EQy Min | Y | 0.020236 | 10 | 108 | 0 | 24
Story2 | 0.8D+0.8SDL-1EQy Max | Y | 0.020236 | 1 | 108 | 72 | 24
Story2 | 0.8D+0.8SDL-1EQy Min | Y | 0.020236 | 1 | 108 | 72 | 24
Story1 | Dead | X | 1e-06 | 22 | 0 | 24 | 12
Story1 | Dead | Y | 3e-06 | 10 | 108 | 0 | 12
Story1 | Live | X | 3.05e-07 | 22 | 0 | 24 | 12
Story1 | Live | Y | 1e-06 | 14 | 60 | 0 | 12
Story1 | SDL | X | 3.742e-07 | 22 | 0 | 24 | 12
Story1 | SDL | Y | 1e-06 | 14 | 60 | 0 | 12
Story1 | EQx 1 | X | 0.008295 | 35 | 36 | 24 | 12
Story1 | EQx 2 | X | 0.008295 | 35 | 36 | 24 | 12
Story1 | EQx 3 | X | 0.008295 | 35 | 36 | 24 | 12
Story1 | EQy 1 | Y | 0.011757 | 26 | 60 | 48 | 12
Story1 | EQy 2 | Y | 0.011757 | 26 | 60 | 48 | 12
Story1 | EQy 3 | Y | 0.011757 | 26 | 60 | 48 | 12
Story1 | 1.4D+1.4SDL | X | 2e-06 | 22 | 0 | 24 | 12
Story1 | 1.4D+1.4SDL | Y | 6e-06 | 10 | 108 | 0 | 12
Story1 | 1.2D+1.6L+1.2SDL | X | 2e-06 | 22 | 0 | 24 | 12
Story1 | 1.2D+1.6L+1.2SDL | Y | 6e-06 | 14 | 60 | 0 | 12
Story1 | 1.3D+1L+1.3SDL+1EQx Max | X | 0.008295 | 33 | 72 | 24 | 12
Story1 | 1.3D+1L+1.3SDL+1EQx Min | X | 0.008295 | 33 | 72 | 24 | 12
Story1 | 1.3D+1L+1.3SDL-1EQx Max | X | 0.008295 | 35 | 36 | 24 | 12
Story1 | 1.3D+1L+1.3SDL-1EQx Min | X | 0.008295 | 35 | 36 | 24 | 12
Story1 | 1.3D+1L+1.3SDL+1EQy Max | Y | 0.011759 | 26 | 60 | 48 | 12
Story1 | 1.3D+1L+1.3SDL+1EQy Min | Y | 0.011759 | 26 | 60 | 48 | 12
Story1 | 1.3D+1L+1.3SDL-1EQy Max | Y | 0.011759 | 24 | 60 | 24 | 12
Story1 | 1.3D+1L+1.3SDL-1EQy Min | Y | 0.011759 | 24 | 60 | 24 | 12
Story1 | 1.3D+1.3SDL+1EQx Max | X | 0.008295 | 33 | 72 | 24 | 12
Story1 | 1.3D+1.3SDL+1EQx Min | X | 0.008295 | 33 | 72 | 24 | 12
Story1 | 1.3D+1.3SDL-1EQx Max | X | 0.008295 | 35 | 36 | 24 | 12
Story1 | 1.3D+1.3SDL-1EQx Min | X | 0.008295 | 35 | 36 | 24 | 12
Story1 | 1.3D+1.3SDL+1EQy Max | Y | 0.011759 | 26 | 60 | 48 | 12
Story1 | 1.3D+1.3SDL+1EQy Min | Y | 0.011759 | 26 | 60 | 48 | 12
Story1 | 1.3D+1.3SDL-1EQy Max | Y | 0.011759 | 24 | 60 | 24 | 12
Story1 | 1.3D+1.3SDL-1EQy Min | Y | 0.011759 | 24 | 60 | 24 | 12
Story1 | 0.8D+0.8SDL+1EQx Max | X | 0.008295 | 33 | 72 | 24 | 12
Story1 | 0.8D+0.8SDL+1EQx Min | X | 0.008295 | 33 | 72 | 24 | 12
Story1 | 0.8D+0.8SDL-1EQx Max | X | 0.008295 | 35 | 36 | 24 | 12
Story1 | 0.8D+0.8SDL-1EQx Min | X | 0.008295 | 35 | 36 | 24 | 12
Story1 | 0.8D+0.8SDL+1EQy Max | Y | 0.011758 | 26 | 60 | 48 | 12
Story1 | 0.8D+0.8SDL+1EQy Min | Y | 0.011758 | 26 | 60 | 48 | 12
Story1 | 0.8D+0.8SDL-1EQy Max | Y | 0.011758 | 24 | 60 | 24 | 12
Story1 | 0.8D+0.8SDL-1EQy Min | Y | 0.011758 | 24 | 60 | 24 | 12

## Program Control
TABLE: Program Control
Program Name | Version | Level | License Number | Current Units | Steel Frame Code | Concrete Frame Code | Composite Beam Code | Composite Column Code | Shear Wall Code | Steel Connection Code
ETABS | 17.0.1 | Ultimate | Unknown | Varies | AISC 360-16 | ACI 318-08 | AISC 360-16 | AISC 360-10 | ACI 318-08 | AISC 360-10